## Research Labs
Survey On R&D Infrastructure Accessibility and Usage in Emirate of Abu Dhabi
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
S.No. | Name of the Center | Name of the Laboratory/Facility | Capabilities |  |  | Usage Charge (AED/Hour) (Can be per Lab or at the Center Level) | Usage Charges (AED/Hour) (If Staff Expertise's assistance is needed by the Client) | Contact Person (Email and Phone No.)
|  |  | Specific Type of R&D Activities, Tests, and Experiments that can be carried out and offered at the Facility | Number of Technical Support Staff dedicated to the Facility (can be shared between one or more Labs/Facilities) | Key Equipment that are above 50,000 AED Available for Access/Usage by External Client
1 | CORE Laboratories Main | Advanced Manufacturing | Manufacturing facilities to design, prepare prototypes using metal or polymeric additive processes. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Shot Peen (Technique: ; Media blasting - Peenmatic 950ZID) | 150 | 450 | Lewis Kindleyside (lewis.kindleyside@ku.ac.ae, tel:+97152 3783069)
2 | CORE Laboratories Main | Advanced Manufacturing | Manufacturing facilities to design, prepare prototypes using metal or polymeric additive processes. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | CNC Bandsaw (Technique: ; Semi Automated Bandsaw - Kastowin amc) | 200 | 500 | Lewis Kindleyside (lewis.kindleyside@ku.ac.ae, tel:+97152 3783069)
3 | CORE Laboratories Main | Advanced Manufacturing | Manufacturing facilities to design, prepare prototypes using metal or polymeric additive processes. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Termolab Furnace (Technique: ; Small furnace for ceramic manufactured components) | 80 | 380 | Lewis Kindleyside (lewis.kindleyside@ku.ac.ae, tel:+97152 3783069)
4 | CORE Laboratories Main | Advanced Manufacturing | Manufacturing facilities to design, prepare prototypes using metal or polymeric additive processes. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | High pressure Wash (Technique: ; Small cabinet with high pressure water to clean manufactured components) | 20 | 320 | Lewis Kindleyside (lewis.kindleyside@ku.ac.ae, tel:+97152 3783069)
5 | CORE Laboratories Main | Advanced Manufacturing | Manufacturing facilities to design, prepare prototypes using metal or polymeric additive processes. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Nabertherm Furnace (Technique: ; Heat treatment of Metal AM components - 1300'C Max) | 80 | 380 | Lewis Kindleyside (lewis.kindleyside@ku.ac.ae, tel:+97152 3783069)
6 | CORE Laboratories Main | Advanced Manufacturing | Manufacturing facilities to design, prepare prototypes using metal or polymeric additive processes. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Ceramic 3D Printer (Technique: ; Ceramic Additive Manufacturing - Admaflex 130) | 2500 | 2800 | Lewis Kindleyside (lewis.kindleyside@ku.ac.ae, tel:+97152 3783069)
7 | CORE Laboratories Main | Advanced Manufacturing | Manufacturing facilities to design, prepare prototypes using metal or polymeric additive processes. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Polymer 3D Printer (Technique: ; Polymer Additive Manufactuing - Objet Stratasys 260) | 3000 | 3300 | Lewis Kindleyside (lewis.kindleyside@ku.ac.ae, tel:+97152 3783069)
8 | CORE Laboratories Main | Advanced Manufacturing | Manufacturing facilities to design, prepare prototypes using metal or polymeric additive processes. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | EOS M400-4 (Technique: ; Laser Metal Additive Manufacturing Machine) | 2500 | 2800 | Lewis Kindleyside (lewis.kindleyside@ku.ac.ae, tel:+97152 3783069)
9 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Quanta 250 (Technique: SEM + EDS ; High resolution sample surface imaging (tens nm). Elemental composition and elemental mapping) | 500 | 800 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
10 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Quanta 3D (Technique: SEM + EDS ; High resolution sample surface imaging (tens nm). Elemental composition and elemental mapping) | 600 | 900 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
11 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | SEM JEOL (Technique: HR SEM ; High resolution sample surface imaging (few nm).) | 450 | 750 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
12 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Helios (Technique: HR SEM + EDS ; High resolution sample surface imaging (few nm). Elemental composition and elemental mapping) | 850 | 1150 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
13 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Quanta 250 (Technique: ESEM ; Sample surface imaging in humid condition (for non conductive and bio samples). Condensation (contact angle)) | 500 | 800 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
14 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Quanta 250 (Technique: SEM ; Sample surface imaging (few tens of nm).) | 275 | 575 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
15 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Quanta 3D (Technique: SEM + EBSD ; Sample surface imaging (tens of nm). Crystallography.) | 1000 | 1300 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
16 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | NovaNano (Technique: HR SEM + EDS ; High resolution sample surface imaging (few nm). Elemental composition and elemental mapping) | 700 | 1000 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
17 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Quanta 3D (Technique: SEM ; Sample surface imaging (tens of nm). Sample cross-sectioning) | 350 | 650 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
18 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Tecnai (Technique: STEM + EDS ; Elemental composition and elemental mapping) | 1500 | 1800 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
19 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | SEM JEOL (Technique: HR SEM + EDS ; High resolution sample surface imaging (few nm). Elemental composition and elemental mapping) | 700 | 1000 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
20 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | NovaNano (Technique: HR SEM ; High resolution sample surface imaging (few nm).) | 450 | 750 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
21 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Helios (Technique: HR SEM ; High resolution sample surface imaging (few nm).) | 600 | 900 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
22 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Quanta 3D (Technique: SEM + FIB ; Sample surface imaging (tens of nm). Sample cross-sectioning. TEM lamella preparation) | 1500 | 1800 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
23 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Tecnai TEM (Technique: TEM ; Sample imaging up to atomic resolution. Diffraction.) | 750 | 1050 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
24 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Helios (Technique: HRSEM + FIB ; High resolution sample surface imaging (few nm). TEM lamella preparation) | 2000 | 2300 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
25 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Titan TEM (Technique: TEM ; Sample imaging up to atomic resolution. Diffraction.) | 1000 | 1300 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
26 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Tecnai (Technique: STEM ; Sample imaging up to atomic resolution. Needed for EELS and EDX) | 1000 | 1300 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
27 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Titan (Technique: STEM ; Sample imaging up to atomic resolution. Needed for EELS and EDX) | 1200 | 1500 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
28 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Titan (Technique: EELS ; Elemental composition and elemental mapping) | 1500 | 1800 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
29 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Titan (Technique: STEM + EDS ; Elemental composition and elemental mapping) | 1500 | 1800 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
30 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | AFM CSI (Technique: AFM ; Surface topography) | 300 | 600 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
31 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Horiba Raman (Technique: RAMAN ; Raman spectroscopy) | 300 | 600 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
32 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Witec Raman/AFM (Technique: RAMAN ; Raman spectroscopy) | 300 | 600 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
33 | CORE Laboratories Masdar | Electron Microscopy | Advanced visualization techniques of wide range of materials using Scanning and Transmission Microscopes (SEM & TEM). Include a wide range of techniques such UHR: Ultra High-Resolution SEM, Environmental SEM, Focused Ion Beam, Elemental Dispersive Spectroscopy, Electron Back Scattering Diffraction. High Resolution TEM, STEM: Scanning TEM, Energy Filtered TEM, Electron Energy Loss Spectroscopy. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | AFM Asylum (Technique: AFM ; Surface topography) | 300 | 600 | Cyril Aubry (cyril.aubry@ku.ac.ae, tel:+971 2 312 4390 )
34 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | SAMCO 200iP Fluorine Reactive Ion Etcher (RIE) (Technique: ; Used for etching all types of materials) | 400 | 700 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
35 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Kurt J. Lesker PVD 75 Thermal Evaporator (Technique: ; Used for depositing metals) | 350 | 650 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
36 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Reynolds KOH Bench (Technique: ; Bench used for bases) | 350 | 650 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
37 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Oxford PlasmaLab 100 Plasma Enhanced Vapor Deposition system (Technique: ; Used for depositing silicon oxide, silicon nitride, amorphous silicon, poly-Silicon etc.) | 400 | 700 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
38 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Keyence VHX 1000 Video Microscope (Technique: ; Digital optical microscope) | 300 | 600 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
39 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | SAMCO 200iP Chlorine Reactive Ion Etcher (RIE) (Technique: ; Used for etching all types of materials) | 400 | 700 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
40 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Oxford Instruments PlasmaLab 100 DRIE (Technique: ; Used for anisotropic etching of silicon, silicon oxide, and other dielectrics) | 350 | 650 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
41 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Reynolds RCA Clean Bench (Technique: ; Bench used for HF) | 350 | 650 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
42 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Reynolds Acid Etch Bench (Technique: ; Bench used acids) | 300 | 600 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
43 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Reynolds Photoresist Developer Bench (Technique: ; Bench used for photoresist development) | 300 | 600 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
44 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Reynolds Solvent Bench (Technique: ; Bench used for solvents) | 350 | 650 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
45 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Oxford FlexAl Atomic Layer Deposition System (Technique: ; Thin-film deposition) | 250 | 550 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
46 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | DISCO DAD 3220 Dicing Saw (Technique: ; Tool used for dicing wafers) | 400 | 700 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
47 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Karl SUSS RCD8 Gen 3 (Technique: ; Precision spin-coater) | 600 | 900 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
48 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Temescale BJD-2000 E-beam Evaporator. (Technique: ; Used for depositing metals and metal oxides) | 550 | 850 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
49 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Kurt J Lesker PVD System (new) (Technique: ; Used for depositing metals and metal oxides) | 350 | 650 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
50 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | AJA Orion 300 Plasma Sputterer. (Technique: ; Used for deposition of a large variety of materials) | 450 | 750 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
51 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Filmetrics F40 (Technique: ; Used for rapid thin film thickness and optical constants measurements) | 200 | 500 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
52 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Aixtron BM 4 Chemical Vapor Deposition (CVD) system. (Technique: ; Furnace dedicated to graphene and carbon nanotube synthesis) | 360 | 660 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
53 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | MicroTest Wirebonder (Technique: ; Wire bonder for Wedge bonding, Ball bonding and Ball Bumping) | 400 | 700 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
54 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Plasma Etch Asher PE-50 (Technique: ; Used for cleaning and surface activation) | 200 | 500 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
55 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Karl SUSS MA8/BA8e Gen 3 (Technique: ; Manual UV mask-aligner for photolithography) | 450 | 750 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
56 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | MicroTest Scriber (Technique: ; Separate components on a wafer) | 150 | 450 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
57 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | YES 5TA HMDS OVEN (Technique: ; Used to improve adhesion of photoresists) | 100 | 400 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
58 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Blue M Inert Gas Oven UP 550 Control (Technique: ; Oven for baking substrates) | 100 | 400 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
59 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | RAITH E-line Plus Electronic Beam Lithography system (Technique: ; Used for nanofabrication and structuring) | 550 | 850 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
60 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Veeco Dektak 150 (Technique: ; Used for thin film thickness measurements) | 300 | 600 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
61 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Flexus 2320 Thin Film Stress Measurement (Technique: ; Thin-film stress measurement) | 100 | 400 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
62 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | J.A Woollam Variable Angle Ellipsometer (Technique: ; Used for thin film thickness and optical constants measurements) | 550 | 850 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
63 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Rapid Thermal Annealer RTA (Technique: ; Oven for baking substrates) | 100 | 400 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
64 | CORE Laboratories Masdar | Micro & Nano Fabrication | Cleanroom fabrication facility with tools for deposition, growth, patterning and etching of advanced materials. The facility includes a class thousand metrology bay, followed by a second class thousand deposition and etching bay. The last two bays are class hundred bays that house several etch, deposition, photolithography, e-beam lithography and wet processing tools. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | C-P Vacuum Oven (Technique: ; Oven for baking substrates) | 100 | 400 | Calvyn Travis Howells (calvyn.howells@ku.ac.ae, )
65 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | HYDRULIC PIPE BENDER (Technique: ; Used cut Materials) | 60 | 360 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
66 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | ORBITAL WELDING MACHINE (Technique: ; Used for welding small SS tubes.) | 600 | 900 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
67 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | SPOT WELDING MACHINE (Technique: ; Used to grinding and sand materials) | 120 | 420 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
68 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | SANDER (Technique: ; used to Drilling and Tapping Operation) | 60 | 360 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
69 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | ROCK CUTTING (Technique: ; Used to Weld metals) | 120 | 420 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
70 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | DRILL PRESS (Technique: ; Used to Bend Pipes up to 2") | 60 | 360 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
71 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | BELT AND DISC SANDER (Technique: ; Used to cut non ferrous matals) | 60 | 360 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
72 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | CNC MILLING MACHINE (Technique: ; Used for milling operations) | 200 | 500 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
73 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | BAND SAW MACHINE HORIZONTAL (Technique: ; Used to Cut Materials) | 120 | 420 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
74 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | HYDRAULIC SHEARING MACHINE (Technique: ; Used to cutting sheet metals up to 5mm) | 200 | 500 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
75 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | BAND SAW MACHINE HORIZONTAL (Technique: ; Used to Cut Materials) | 120 | 420 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
76 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | RADIAL ARM SAW (Technique: ; Used to Cut rocks) | 120 | 420 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
77 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | MIG WELDING MACHINE (Technique: ; Used to cut wood and plastic) | 120 | 420 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
78 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | JIG SAW (Technique: ; Used to grinding and sand materials) | 60 | 360 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
79 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | COLD SAW MACHINE (Technique: ; used to Drilling and Tapping Operation) | 60 | 360 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
80 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | CONVENTIONAL LATHE MACHINE (Technique: ; Used for Turning, Drilling , Reaming Etc) | 150 | 450 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
81 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | VERTICAL BAND SAW MACHINE. (Technique: ; Used to Cut Materials) | 150 | 450 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
82 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | SURFACE GRINDING MACHINE (Technique: ; Used to grind materials) | 150 | 450 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
83 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | ROLLING MACHINE (Technique: ; Used to Roll sheet metals up to 2mm) | 150 | 450 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
84 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | ROCK DRILLING MACHINE (Technique: ; Drilling Rock Samples) | 150 | 450 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
85 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | RADIAL DRILLING MACHINE (Technique: ; Used to Drill and Tapping Operation) | 150 | 450 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
86 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | CNC LATHE MACHINE (HASS) (Technique: ; Used for Turning, Drilling , Reaming Etc) | 200 | 500 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
87 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | CONVENTIONAL MILLING MACHINE (Technique: ; Used for milling operations) | 150 | 450 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
88 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | CHOP SAW (Technique: ; Used to Weld metals) | 120 | 420 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
89 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | ACRYLIC BENDING MACHINE (Technique: ; Bending Acrylic and plastic sheets.) | 160 | 460 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
90 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | HAND DRILLING MACHINE (Chargable) (Technique: ; used to Drilling and Tapping Operation) | 30 | 330 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
91 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | HAND DRILLING MACHINE (Electric) (Technique: ; ) | 30 | 330 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
92 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | HYDRAULIC BENDING MACHINE (Technique: ; Used to Bending Seet metals up to 4mm) | 200 | 500 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
93 | CORE Laboratories Masdar | Research Fabrication and Prototyping Workshop | Facility contains a woodshop, a machine shop, a welding shop, and a fabrication shop. The Machine Shop provides design consultation, as well as precision machining on all types of prototyping and custom-designed parts. Machine shop provide full service; order the required raw materials, fabricate the device. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | CNC LATHE OPTI TURN (Technique: ; Used for Turning, Drilling , Reaming Etc) | 200 | 500 | Nellimala Abdul Shukoor (nellimala.abdulshukoor@ku.ac.ae, tel:+971 2 312 4214)
94 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | ISE- (Technique: ; ISE Meters Water quality meters measure water quality) | 60 | 360 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
95 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | cell imaging station (Technique: ; EVOS systems is the-line imaging components, including: -High-quality camera and optics to capture high-resolution images (1296 x 964 pixels).) | 250 | 550 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
96 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | qPCR step one (Technique: ; Perform a variety of standard and demanding genetic analysis research techniques) | 1000 | 1300 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
97 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | pH (Technique: ; Record accurate and reliable pH, mV, ORP and temperature measurements .) | 70 | 370 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
98 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Microwave digestion (Technique: ; Laboratory-grade microwave digestion system designed for efficient sample digestion and extraction.) | 120 | 420 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
99 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | MiSeq v3 (300 cycles (Technique: ; Applications targeting resequencing, metagenomics, small genome sequencing, targeted gene expression profiling.) | 1100 | 1400 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
100 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Rotavap (Technique: ; A rotary evaporator is a device used for the efficient removal of solvents from samples by evaporation.) | 350 | 650 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
101 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Conductivity (Technique: ; An electrical conductivity meter (EC meter) measures the electrical conductivity in a solution.) | 100 | 400 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
102 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Ion Chromatography (Technique: ; Measurement concentrations of major anions and major cations in the parts-per-billion (ppb) range.) | 350 | 650 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
103 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | GC-FID (Technique: ; Gas chromatography–separating the chemical elements of a mixture of organic chemicals, and in this case, the mobile phase is a gas (most often helium).) | 800 | 1100 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
104 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | GC-MS (Technique: ; Gas chromatography–mass spectrometry is an analytical method that combines the features of gas-chromatography and mass spectrometry to identify different organic chemicals substances within a test sample.) | 950 | 1250 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
105 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | ICP-MS (Technique: ; Inductively coupled plasma-mass-spectrometry is a technique to determine low-concentrations and ultra-low-concentrations of elements .) | 350 | 650 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
106 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Muffle Furnace (Technique: ; The furnace are intended for applications requiring temperatures from 100 °C to 1093 °C for continuous use, or temperatures from 100 °C to 1200 °C for intermittent use.) | 60 | 360 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
107 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | HPLC (Technique: ; HPLC is an analytical technique used to separate, identify or quantify each component in a mixture of organic chemicals.) | 500 | 800 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
108 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | gel imager (Technique: ; The ChemiDoc system is a full-feature instrument for gel or western blot imaging. It is designed to address multiplex fluorescent western blotting, chemiluminescence detection, and general gel documentation applications.) | 375 | 675 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
109 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | nano drop (Technique: ; Spectrophotometer can measure the concentration and purity of nucleic acids) | 190 | 490 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
110 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | genesis UV-VIS (Technique: ; Spectrophotometer utilizes a high-intensity xenon lamp and dual-beam optical geometry to deliver unsurpassed data quality.) | 240 | 540 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
111 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Manual Microscope (Technique: ; Variscope compound light microscope for cell imaging.) | 150 | 450 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
112 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Stereo zoom Microscope_ (Technique: ; Digital stereo microscope features a built-in imgaing system.) | 150 | 450 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
113 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Freeze-dryer (Technique: ; FreeZone -105° C 4.5 Liter Cascade Benchtop Freeze Dry System is designed for light sample loads with very low eutectic points including ones containing small amounts of methanol and ethanol.) | 120 | 420 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
114 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Plate Reader-Spectra (Technique: ; The Fluostar Optima is a fully automated microplate incorporates four different measurement principles.) | 200 | 500 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
115 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Mill-Grinder (Technique: ; A Lab grinding mill is a unit operation designed to break a solid material into smaller pieces.) | 60 | 360 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
116 | CORE Laboratories SAN | Analytical Chemistry and Biochemistry | Support chemistry research foSupport chemistry research for Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support for the determination of chemical composition and compound identification r Elemental Analysis, Chromatography, Mass Spectrometry, general chemistry and biochemistry support Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | flurometer (Technique: ; Measure parameters of visible spectrum fluorescence: its intensity and wavelength distribution of emission spectrum after excitation by a certain spectrum of light.) | 400 | 700 | Eiman Al Tenaiji (eiman.altenaiji@ku.ac.ae, tel:+971 2 312 4209)
117 | CORE Laboratories SAN | Optoelectronic Characterization | Characterization of electrical, physical properties devices, materials, solar cells and other semi conductors. Tion of electrical, physical properties devices, materials, solar cells and other semi conductors. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | QEX7 Solar Cell QE Measurement System (Technique: ; The QEX7 system can measure the spectral response of a wide variety of photovoltaic devices, including p-n junction and dye-nanocrystalline solar cells (DSSCs).) | 120 | 420 | Teenu Thomas (teenu.thomas@ku.ac.ae, tel:+971 2 312 4475)
118 | CORE Laboratories SAN | Optoelectronic Characterization | Characterization of electrical, physical properties devices, materials, solar cells and other semi conductors. Tion of electrical, physical properties devices, materials, solar cells and other semi conductors. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | WCT-120 Wafer Lifetime & Suns-Voc Curve Tracer Tools (Technique: ; The instrument uses an eddy-current conductance sensor and a filtered xenon flash lamp to measure carrier lifetime, for evaluation and optimization of material quality, dopant diffusion, and passivation quality in silicon photovoltaic wafers and cell.) | 130 | 430 | Teenu Thomas (teenu.thomas@ku.ac.ae, tel:+971 2 312 4475)
119 | CORE Laboratories SAN | Optoelectronic Characterization | Characterization of electrical, physical properties devices, materials, solar cells and other semi conductors. Tion of electrical, physical properties devices, materials, solar cells and other semi conductors. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Agilent B1505A Curve Tracer (Technique: ; The S-1160 probe station is used universally to achieve precise measurement results incorporating proven technology for I-V/C-V measurements.) | 100 | 400 | Teenu Thomas (teenu.thomas@ku.ac.ae, tel:+971 2 312 4475)
120 | CORE Laboratories SAN | Optoelectronic Characterization | Characterization of electrical, physical properties devices, materials, solar cells and other semi conductors. Tion of electrical, physical properties devices, materials, solar cells and other semi conductors. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Elite 300 Semi-automatic Prober (Technique: ; RF/DC device characterization, wafer-level reliability, IC failure analysis and design debug, more data needs to be collected faster and more accurately.) | 150 | 450 | Teenu Thomas (teenu.thomas@ku.ac.ae, tel:+971 2 312 4475)
121 | CORE Laboratories SAN | Optoelectronic Characterization | Characterization of electrical, physical properties devices, materials, solar cells and other semi conductors. Tion of electrical, physical properties devices, materials, solar cells and other semi conductors. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | LAMBDA 1050 UV/Vis/NIR Spectrometer (Technique: ; This can be used to collect absolute or relative reflectance measurements with an angle of incidence in the range 8 to 65 degreeby utilizing wavelengths in the range 3100-190 nm) | 150 | 450 | Teenu Thomas (teenu.thomas@ku.ac.ae, tel:+971 2 312 4475)
122 | CORE Laboratories SAN | Optoelectronic Characterization | Characterization of electrical, physical properties devices, materials, solar cells and other semi conductors. Tion of electrical, physical properties devices, materials, solar cells and other semi conductors. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Lakeshore 7607 Hall Measurement System (Technique: ; Designed to characterize sample resistance, resistivity, Hall coefficient, Hall mobility, carrier concentration, or current-voltage characteristics and analyze the electronic transport properties of materials , allows the user to control both temperature and magnetic induction.) | 150 | 450 | Teenu Thomas (teenu.thomas@ku.ac.ae, tel:+971 2 312 4475)
123 | CORE Laboratories SAN | Optoelectronic Characterization | Characterization of electrical, physical properties devices, materials, solar cells and other semi conductors. Tion of electrical, physical properties devices, materials, solar cells and other semi conductors. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | IV-5 Solar Cell I-V Measurement System (Technique: ; The IV-5 Solar Cell I-V Measurement System is designed for the characterization of small solar devices, by irradiating an area of 50 mm x 50 mm with a class ABA solar simulator (class AAA optional), measures the I-V characteristics of the device and computes crital parameters such as Voc, Isc, Jsc, Vmax, Imax, Pmax, and efficiency.) | 100 | 400 | Teenu Thomas (teenu.thomas@ku.ac.ae, tel:+971 2 312 4475)
124 | CORE Laboratories SAN | Optoelectronic Characterization | Characterization of electrical, physical properties devices, materials, solar cells and other semi conductors. Tion of electrical, physical properties devices, materials, solar cells and other semi conductors. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Ecopia Hall Measurement System 5000 (Technique: ; The HMS-5000 Hall Effect Measurement Systems plot concentration versus temperature, mobility versus temperature, resistivity versus temperature, conductivity versus temperature, and Hall coefficient versus temperature.) | 120 | 420 | Teenu Thomas (teenu.thomas@ku.ac.ae, tel:+971 2 312 4475)
125 | CORE Laboratories SAN | Optoelectronic Characterization | Characterization of electrical, physical properties devices, materials, solar cells and other semi conductors. Tion of electrical, physical properties devices, materials, solar cells and other semi conductors. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | OAI TriSol CPV Solar Simulator (Technique: ; Equipment is designed to emit broad band light intended for solar simulation with applications such as solar cell testing and weathering.) | 250 | 550 | Teenu Thomas (teenu.thomas@ku.ac.ae, tel:+971 2 312 4475)
126 | CORE Laboratories SAN | Optoelectronic Characterization | Characterization of electrical, physical properties devices, materials, solar cells and other semi conductors. Tion of electrical, physical properties devices, materials, solar cells and other semi conductors. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Delcom Instruments (Technique: ; Delcom Sheet Resistance Meters determine sheet resistance, conductance & also useful for material that has multiple conductive layers separated by insulating layers.) | 100 | 400 | Teenu Thomas (teenu.thomas@ku.ac.ae, tel:+971 2 312 4475)
127 | CORE Laboratories SAN | Optoelectronic Characterization | Characterization of electrical, physical properties devices, materials, solar cells and other semi conductors. Tion of electrical, physical properties devices, materials, solar cells and other semi conductors. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Sol3A 94123A Solar Simulator (Technique: ; Solar Simulator with a 1600 Watt Xenon, Ozone Free source illuminated over a 12 inch x 12 inch area provides 1 SUN output power, with true Class AAA performance.) | 100 | 400 | Teenu Thomas (teenu.thomas@ku.ac.ae, tel:+971 2 312 4475)
128 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | DMA TA Q800 (Technique: ; Mechanical analyser : Small sample mechanical properties analysis) | 150 | 450 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)
129 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Nabertherm High temperature Furnace (Technique: ; High temperature furnace (1400C) weight variation recording (sample up to 1 kg)) | 80 | 380 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)
130 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Muffle Furnace (Technique: ; High temperature furnace (1200C)) | 80 | 380 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)
131 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | XPS ESCALAB Xi+ (Technique: XPS imaging ; X-rays surface mapping) | 400 | 700 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)
132 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | XPS ESCALAB Xi+ (Technique: XPS ; Chemical Analysis of surface by XPS) | 300 | 600 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)
133 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | XPS ESCALAB Xi+ (Technique: Auger ; Auger Specroscopy) | 300 | 600 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)
134 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | XPS ESCALAB Xi+ (Technique: FIB ; Surface Analysis by X-Rays photo electron for chemical composition and Ion beam etching.) | 1500 | 1800 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)
135 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Dilatometer DIL 802 (Technique: ; Dilatometry measurment - Expansion coefficient) | 90 | 390 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)
136 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | XRD PANalytical Empyrean (Technique: GI-XRD ; X-Rays Grazing incidence analysis for thin film) | 250 | 550 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)
137 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | XRD PANalytical Empyrean (Technique: FlatSample ; X-rays on thin films - Crystallographic study) | 180 | 480 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)
138 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Flash Diffusivity TA DXF-EM900 (Technique: ; Thermal Conductivity measurment) | 100 | 400 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)
139 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | NETZSCH High Temperature TGA (Technique: TGA ; Thermo Gravimetirc analysis (sample weight recording over a temperature program)) | 100 | 400 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)
140 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | XtaLAB mini II (Technique: ; Single Crystal quick screening and diffraction analysis) | 300 | 600 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)
141 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | NETZSCH High temperature DSC (Technique: ; Differntial Scanning Calorimmetry - Phase change and decomposition analysis) | 100 | 400 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)
142 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Bruker D2 Phaser XRD (Technique: ; Routine powder X-Ray diffraction) | 120 | 420 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)
143 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | NETZSCH High Temperature TGA (Technique: TGA+QMS ; Thermo Gravimetirc analysis (sample weight recording over a temperature program) with evolve gas analysis) | 200 | 500 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)
144 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Simultaneous Thermal Analyser STA 504 (Technique: ; Simultaneous Thermal Analisys - TGA (ThermoGravimetric)+ DTA (Differential Thermal Analysis) : weight variation and phase changes detection) | 100 | 400 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)
145 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | VaporSorption Vstar (Technique: ; Water sorption analysis) | 80 | 380 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)
146 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | XRD PANalytical Empyrean (Technique: Powder ; X-rays of Powder sample - routine analysis) | 180 | 480 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)
147 | CORE Laboratories SAN | Surface and Material Characterization | Surface Characterization of solid materials using X-ray spectroscopy, Micro calorimetry, micro gravimetry, dilatometer instruments to determine their structural and textural properties. Rate for are indicative. Usage charge for external users requiring assistance are not available in 2021. | 1 | Bruker Vertex 80v FT-IR 1 (Technique: ; Fourrier Transform Infra Red spectroscopy - Chemical function analysis) | 100 | 400 | Thomas Delclos (thomas.delclos@ku.ac.ae, tel:+971 2 312 4340)

## Academic Labs
Survey On R&D Infrastructure Accessibility and Usage in Emirate of Abu Dhabi
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
z` | Name of the Center | Name of the Laboratory/Facility | Capabilities |  |  | Usage Charge (AED/Hour) (Can be per Lab or at the Center Level) | Usage Charges (AED/Hour) (If Staff Expertise's assistance is needed by the Client) | Contact Person (Email and Phone No.)
|  |  | Specific Type of R&D Activities, Tests, and Experiments that can be carried out and offered at the Facility | Number of Technical Support Staff dedicated to the Facility (can be shared between one or more Labs/Facilities) | Key Equipment that are above 50,000 AED Available for Access/Usage by External Client
Industrial and Systems Engineering
1 | ISYE Department | ISYE Lab C03023- Production/Mini Factory Lab | ASRS and AGV. Complete CIM integration | main mandate of teaching will affect as single staff- Handling 4 labs | CNC Mill intergrated with UR 3 Robot and AGV and ASRS | 500 | 800 | Abdul Harees (abdulharee.abdulkareem@ku.ac.ae , tel: +971 2 3124136
2 | ISYE Department | ISYE Lab C03067-Industrial Visualization Lab | Industrial Visualization by Using 6 meter dia Igloo visualization cylinder to use for intractive process operation, Synertial Jack from Siemens. The Igloo is a great tool for new ADNOC operations employees trainings and can be a great tool to assess the environment of airline seating ergonomics and comfort. Also, pilot and drivers simulation becomes more interactive and realestic with Igloo vision | main mandate of teaching will affect as single staff- Handling 4 labs | 6 meter Igloo Industrial Visualization cylinder, Driving simulator and Tobli glasees and soiftware | 500 | 800 | Abdul Harees (abdulharee.abdulkareem@ku.ac.ae , tel: +971 2 3124137
3 | ISYE Department | ISYE Lab C03021- Supply Chain abd Operation research Lab | NCEMA about possible options for research. providing simulation (AnyLogic) or optimization (AIMMS) software related trainings | main mandate of teaching will affect as single staff- Handling 4 labs |  | 400 | 800 | Abdul Harees (abdulharee.abdulkareem@ku.ac.ae , tel: +971 2 3124136
4 | ISYE Department | ISYE Lab C03012- Human Factor Lab | Thermal Manikan and software can be used for research in comfort level of human being in various weather condtions. Ergonomics study of an Industrial work bench. | main mandate of teaching will affect as single staff- Handling 4 labs | Thermal Manikan with thermetrics Manikan softwrae | 400 | 800 | Abdul Harees (abdulharee.abdulkareem@ku.ac.ae , tel: +971 2 3124136
Petroleum Engineering
1 | Petroleum Engineering Department | Core Preparation Lab/ Ruwais-Lab 3123 | Core Flooding experiments | Research equipment upto 3 staff/researchers are required to run the equipment. | Grace Core Flooding Rig | Will be discussed with the Petroleum Engineering Research/Teaching committee and provided accordingly | Will be discussed with the Petroleum Engineering Research/Teaching committee and provided accordingly | Khaliq Naik Mohammed(mohammed.naik@ku.ac.ae, mob: +971529047453), Mimoune Kissami (mimoun.kissami@ku.ac.ae, Mob : 0508173506))
2 | Petroleum Engineering Department | Core Lab/Ruwais-Lab 3131 | Reservoir Rock Properties Measurements (teaching lab) | Two lab instructors/Lab Engineers | Will be provided separately | Will be discussed with the Petroleum Engineering Research/Teaching committee and provided accordingly | Will be discussed with the Petroleum Engineering Research/Teaching committee and provided accordingly | Khaliq Naik Mohammed(mohammed.naik@ku.ac.ae, mob: +971529047453), Abdessamia Jebbouri (abdessamia.jebbouri@ku.ac.ae, mob: +971563343661)
3 | Petroleum Engineering Department | Drilling Simulation Lab/Ruwais-Lab 3125 | Drilling Simulator/ simulation for drilling operations. | Lab instructor/Lab Engineer | Drilling Simulator | Will be discussed with the Petroleum Engineering Research/Teaching committee and provided accordingly | Will be discussed with the Petroleum Engineering Research/Teaching committee and provided accordingly | Abukari Iddris (abukari.iddris@ku.ac.ae, mob: +971508350229)
4 | Petroleum Engineering Department | Drilling Fluids Lab/Ruwais-Lab 3133 | Drilling Fluid properties measurements.(teaching lab) | Lab instructor/Lab Engineer | Will be provided separately | Will be discussed with the Petroleum Engineering Research/Teaching committee and provided accordingly | Will be discussed with the Petroleum Engineering Research/Teaching committee and provided accordingly | Abukari Iddris (abukari.iddris@ku.ac.ae, mob: +971508350229)
5 | Petroleum Engineering Department | Reservoir Engineering Lab/Ruwais-Lab 3135 | Computer lab | Lab instructor/Lab Engineer | Will be provided separately | Will be discussed with the Petroleum Engineering Research/Teaching committee and provided accordingly | Will be discussed with the Petroleum Engineering Research/Teaching committee and provided accordingly | Abdessamia Jebbouri (abdessamia.jebbouri@ku.ac.ae, mob: +971563343661)
6 | Petroleum Engineering Department | Reservoir Simulation Lab/Ruwais-Lab 3137 | Computer lab | Lab instructor/Lab Engineer | Will be provided separately | Will be discussed with the Petroleum Engineering Research/Teaching committee and provided accordingly | Will be discussed with the Petroleum Engineering Research/Teaching committee and provided accordingly | Abdessamia Jebbouri (abdessamia.jebbouri@ku.ac.ae, mob: +971563343661)
7 | Petroleum Engineering Department | Fluid Properties Lab | Reservoir Fluid Properties Measurements (teaching lab) | Two lab instructors/Lab Engineers | Will be provided separately | Will be discussed with the Petroleum Engineering Research/Teaching committee and provided accordingly | Will be discussed with the Petroleum Engineering Research/Teaching committee and provided accordingly | Mimoune Kissami (mimoun.kissami@ku.ac.ae, Mob : 0508173506),Khaliq Naik Mohammed(mohammed.naik@ku.ac.ae, mob: +971529047453)
8 | Petroleum Engineering Department | Production and Facilities Lab/Ruwais-Lab-3134 | CORELAB-Core Flooding System | Research equipment upto 3 staff/researchers are required to run the equipment. | CORELAB Core Flooding System | Will be discussed with the Petroleum Engineering Research/Teaching committee and provided accordingly | Will be discussed with the Petroleum Engineering Research/Teaching committee and provided accordingly | Mimoune Kissami (mimoun.kissami@ku.ac.ae, Mob : 0508173506),Khaliq Naik Mohammed(mohammed.naik@ku.ac.ae, mob: +971529047453)
9 | Petroleum Engineering Department | Rock Mechanics Lab/Ruwais-Lab 3136 | NER Rock Mechanics System, to measure all the rock mechancs properties of the reservoir and non reservoir rocks. | Research and teaching equipment upto 3 staff/researchers are required to run the equipment. | NER Rock Mechanics Equipment | Will be discussed with the Petroleum Engineering Research/Teaching committee and provided accordingly | Will be discussed with the Petroleum Engineering Research/Teaching committee and provided accordingly | Abdessamia Jebbouri (abdessamia.jebbouri@ku.ac.ae, mob: +971563343661)
Chemical Engineering
1 | CHEM laboratories, SAN Campus | Petroleum refining lab | Measurement and characteristiozation of petroleum products, ASTM measurements for salt content, densisty, PAI gravity, Reid Vapor pressure, viscosity, cloud point, pour point, flashpoint, softening and thermal stability, atmospheric distillation, vacum distilaltion, casrbon residue test, gum teste, gasoline, diesel and keromesen characateristics | 0 | ISL vida density meter, herzog vapor pressure, Omnitek vsicometer, Herzog cloud point, pensky marten flashpoint, Anton Parr ADU5, Anton Parr thermal oxidation, iFischer vacuum distillation, JFTOT, cetane index, garbner AMETEK, | 200 | 500 | Dr. Fawzi Banat (fawzi.banat@ku.ac.ae, tel: 02312 3993)
2 | CHEM laboratories, SAN Campus | Polymer characterization | Flow, thermal and mechnaical properties of the plasttoics, polymer and composite materials | 0 | Universal testing machine, Extrusion, Injection moulding, hardness tester, TA GPC analysis, TGA, XRD, Differential Scanning Calorimetry (DSC) and Melt Flow Index | 200 | 300 | Dr. Fawzi Banat (fawzi.banat@ku.ac.ae, tel: 02312 3993)
3 | CHEM laboratories, SAN Campus | Reaction and control lab | Measurment and study of kinetics paramater (order of raeaction, arhenius factor and activation energy) involving binary mixtures, PID feed back control analsysi and system finetune | 0 | GUNT and Armfield CSTR, PFR, LFR, Batch reactors. Armfield / Edibon process control trainer, pressure calibrator, thermocouple calibration | 100 | 200 | Dr. Fawzi Banat (fawzi.banat@ku.ac.ae, tel: 02312 3993)
4 | CHEM laboratories, SAN Campus | Unit Operations Lab | Thermodynmics, fluid mechanics, heat transfer, mass transfer and separataion proces for gas, water/liquid and chemicals | 0 | Distillation ,absorption column, sedimentation, liquid - Liquid extraction, Adsorption, Joule thomsposon, refrigeration, EOS, U tube, Shell abd tube, plate and muliple seriues heat exchnager, heat conduction, convection and radiation, flowmeters, pipe flow etc. | 200 | 300 | Dr. Fawzi Banat (fawzi.banat@ku.ac.ae, tel: 02312 3993)
5 | CHEM laboratories, SAN Campus | Thermodynamics laboratory | Potentiometric measuremenet (Amperometric and potentiometric measurement ) for all kind of liquid samples. XRD, FTIR, ICP and other elemental analysis | 0 | 16 cahnnel Biolgic potentiostat, XRD, ICP, Gas chromatograph | 400 | 500 | Dr. Fawzi Banat (fawzi.banat@ku.ac.ae, tel: 02312 3993)
Aerospace
1 | Composites Laboratory | C00033 |  |  |  | 830 | No
2 | Aerodynamics Laboratory | C00079 |  |  |  | 670 | No
3 | Aircraft Design Laboratory | C01014 |  |  |  | 940 | No
4 | Dynamic Systems and Control Laboratory | C01023 |  |  |  | 700 | No
5 | Computer Aided Design Laboratory | C01059 |  |  |  | 360 | No
6 | Space Dynamics Laboratory | R01018 |  |  |  | 930 | No
7 | Vibration Isolation Laboratory | C00018 |  |  |  | Research, | No
| Biomedical Engineering |  |  |  |  | Design, Build and Fly (DBF) Competition
1 | Biomedical Engineering | Biomolecular Engineering Laboratory | For teaching only; ( Lab capacity 16-18 students) | 1 | N.A | 500 | 1000 | Manal Haija ( manal.haija@ku.ac.ae; +971 2 312 4546)
2 | Biomedical Engineering | Cell & Molecular Biology Laboratory | For teaching only; ( Lab capacity 10-12 students) | 1 | Biosafety Cabinet ( BSC); BIORAD Gel Documentation Machine | 500 | 1000 | Manal Haija ( manal.haija@ku.ac.ae; +971 2 312 4546)
3 | Biomedical Engineering | Microscopy laboratory | For teaching only; Due to the space and nature of this lab the capacity is 2-4 students | 1 | Flow cytometer; Plate reader; Live-cell CARL ZEISS Observer Z1 Microscope | 500 | 1000 | Manal Haija ( manal.haija@ku.ac.ae; +971 2 312 4546)
4 | Biomedical Engineering | Cell Culture laboratory | For teaching only; Due to the space and nature of this lab the capacity is 2-4 students | 1 | Biosafety Cabinets ( BSC); CO2 incubators | 500 | 1000 | Manal Haija ( manal.haija@ku.ac.ae; +971 2 312 4546)
5 | Biomedical Engineering | Electrophysiology lab | For teaching only; Lab capacity 16 students | 1 | N.A | 500 | 1000 | Sarah Bawazir ( sarah.bawazir@ku.ac.ae; +971 2 312 4560)
6 | Biomedical Engineering | Gait Lab | Specific assessment of walking patterns | 1 | Gait analysis system; Cellscale Biaxial testing | 500 | 1000 | Sarah Bawazir ( sarah.bawazir@ku.ac.ae; +971 2 312 4560)
| Mechanical |  |  |  |  | 500 | 1000
1 | MAIN | Machine Fabrication Shop - C00026 | Fabrication of complex parts/components | One - Caters to Campus wide teaching & research requirements | CNC & Conventional Lathe/Milling | 700 | 1000 | Rajesh Ganithi(Rajesh.Ganithi@ku.ac.ae, tel: +9712 3124179)
2 | SAN | Machine Fabrication Shop - M01 | Fabrication of complex parts/components | One - Caters to Campus wide teaching & research requirements | CNC & Conventional Lathe/Milling | 700 | 1000 | Mohamed Yousuff(mohamed.abdulkhadir@ku.ac.ae, tel: +97150 598 3486)
3 | MAIN | Material Testing Lab - L00020 | Test the Tensile and Compressive Strength of Materials | Resource used by multiple disciplines for teaching & research needs | Universal Testing Machines | 800 | 1100 | Shrinivas Bojanampati(seneerappa.bojanampati@ku.ac.ae, tel: +9712 312 4469)
| Civil Infrastructure and Environmental Engineering |  |  | In Progress
| Nuclear |  |  | In Progress
| Electrical & Computer |  |  | In Progress