## Test
|  |  | Prepared By: | Reviewed By: | Ref: | Documents Reviewed | 1. Fire system inspection records
Client: | Khalifa University | Initials | AE | RB | Test 10
Process: | EHS Review | Date | 2023-06-18 | 2023-06-19
Period: | May 2023- June 2023
Sr | Particulars | Period |  |  |  | Attributes |  |  | Remarks
[6 empty] | A | B | C
1 | Fire System Inspection | 2022-2023 |  |  |  | a |  |  | Fire system related equipment are being inspected regularly by the contractors
2 | Contractor Performance | 2022-2023 |  |  |  |  | a |  | EHS team inspects the fire fighting system rooms and monitors contractor performance
3 | Inspection Records | 2022-2023 | [5 empty] | a | Inspection reports are developed by the contractors and reviewed by the EHS
Sampling Technique
Total Population |  | 1
Samples Selected |  | 1
Percentage |  | 100%
Tickmarks
A | Fire system related equipment are being inspected regularly by the contractors
B | EHS team inspects the fire fighting system rooms and monitors contractor performance
C | Inspection reports are developed by the contractors and reviewed by the EHS