| Inspection Date | 22-3-2023 | Report Walkthrough. | MACINS032 22/3/2023 |
| --- | --- | --- | --- |
| Site Name | Main Campus | Location | Building K |
| Inspected By | Hend Alzaabi | Witnessed by |  |

| Inspection Type | General Housekeeping & Sanitation Fire Electrical Ladders Lab Food Structure Motor Vehicles Landscaping PPE Stores Emergency Evacuation |
| --- | --- |

| S/N | Description |  | Risk Evaluation |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Low | Med | High |
|  | Trip hazard observed |  |  |  |  |
|  | Empty fire extinguisher found |  |  |  |  |
|  | Poor housekeeping |  |  |  |  |
|  | MCP found hindered |  |  |  |  |
|  | Fire extinguisher not available |  |  |  |  |
|  | Fire alarm panel found hindered |  |  |  |  |
|  | Old KU logo found in the evacuation map |  |  |  |  |
|  | Single insulation cable expose observe |  |  |  |  |
|  | Kitchen door found unlocked |  |  |  |  |
| Attachment |  | Photos Video Footage Other |  |  |  |  |

| S/N |
| --- |
|  | Action | By Whom |  | By When |
|  | Cable management need to be done. | FM | 31-4-23 |  |
|  | Empty fire extinguisher need to be removed | FM | 31-4-23 |  |
|  | Housekeeping need to be done | FM | 31-4-23 |  |
|  | MCP access need to be cleared | FM | 31-4-23 |  |
|  | Fire extinguisher to be available | FM | 31-4-23 |  |
|  | Fire alarm panel need to be accessible | FM | 31-4-23 |  |
|  | Evacuation map need to be updated | FM/EHS | 31-4-23 |  |
|  | Single insulation cable need to be inside the cabinet | FM | 31-4-23 |  |
|  | Kitchen door need to be locked | FM | ASAP |  |

Attached Photos