Date: 30/11/2022

| Method Statement |  |
| --- | --- |
| Project Name | High pressure combustion Test centre |
| Client Name | ATD combustors/KU |
| Main Contractor | ATD Combustors |
| Civil Contractor | Excel Tiles |
| Location | Lab 028 |

Scope of Work:

Pump Room:

- Make foundation (200 mm high, 120x 100 mm) and install pump in the pump room

- Connect piping to suction tank and to discharge line in pump room

Lab 028:

- Make foundation and install pump in the labA028

- Connect piping from water taps

- Make hole bigger for exhaust piping outlet from labA028

Make opening for 6” pipe.

After pipe installation, remaining wall closed

Make foundation

45x45 mm.100mm high

Compressor Room

- Erect storage tank and make anchor bolts

  - Mark location for anchor bolts. Drill 3 anchor bolt hole.

  - Open panel from top. Use crane to lift the tank.

  - Align the tank as per hole and instal anchor bolts

- Install grill and exhaust Fan in compressor room

Activities

Drilling

Drilling for tank with normal drill machine using hand gloves , safety glasses and safety shoes

Lifting

Lifting stuff with boomloder with belt with all safety measures

Civil work

Use hilty for making hole under window , gloves ,safety  glasses

Piping

Fixing PPR pipes with heater ,

Gloves, Fire extinguisher

Foundation

Using Ready mix concrete, safety gloves

Regards

Ph: 056-4951761