## 2022 Incident Sheet Main
S.No. | Quarter | Ref No. | Date | Incident | Incident Type | Code | Involve | Root Cause of Incident | Corrective /Preventive Action taken | Cost AED | 1st Quarter |  |  | Total
1 | 1st | MACINR001-11/01/2022 | 2022-03-11 | Flooding in Wave Tank Basement | Near Miss | NM | Contractor- Al Ghanem | Pump not operational during drainage | *As stated in Incident Corrective Action |  | Fatality | 0 |  | F | 0
2 | 2nd | MACINR002-21/4/2022 | 2022-04-21 | Lift Trouble | Near Miss | NM | Staff | Elevator System Trouble | * Reviewed by Competent Contractor |  | Permanent Total Disability | 0 |  | PTD | 0
3 | 2nd | MACINR003-15/6/2022 | 2022-06-15 | Evacuation Message Activated ( EBuilding L1to L4) | Near Miss | NM | Contractor- Imdaad | Human Error- Evacuation Message Triggered | Competent Contractor reviewed |  | Permanent Partial Disability | 0 |  | PPD | 0
4 | 2nd | MACINR004-28/6/2022 | 2022-06-28 | Chair damage | Near Miss | NM | Staff | Wear and tear of the chair as one foot is found broken | Cleaning team( Soft Services- West Coast_) instructed to review all class room, remove and replace similar chairs. |  | First Aid | 0 |  | FA | 0
5 | 3rd | MACINR005-6/9/2022 | Sept | Smoke | Property Damage | PD | Contractor- Fire Stone (Non Nominated) | Inadequate supervision | Action points are stated in Incident Investigation |  | Property Damage | 0 |  | PD | 1
[11 empty] | Near Miss | 1 |  | NM | 4
2nd Quarter
[11 empty] | Fatality | 0
[11 empty] | Permanent Total Disability | 0
[11 empty] | Permanent Partial Disability | 0
[11 empty] | First Aid | 0
[11 empty] | Property Damage | 0
[11 empty] | Near Miss | 3
3rd Quarter
[11 empty] | Fatality | 0
[11 empty] | Permanent Total Disability | 0
[11 empty] | Permanent Partial Disability | 0 | `
[11 empty] | First Aid | 0
[11 empty] | Property Damage | 1
[11 empty] | Near Miss | 0
4rd Quarter
[11 empty] | Fatality | 0
[11 empty] | Permanent Total Disability | 0
[11 empty] | Permanent Partial Disability | 0
[11 empty] | First Aid | 0
[11 empty] | Property Damage | 0
[11 empty] | Near Miss | 0