2023

Internal Audit Department

Khalifa University of Science and Technology

June - 2023

Internal Audit Report

Review of EHS

Ref: KU/2023/IAD-XXX

June 2023

Dr. Ebrahim Al Hajri

SVP Support Services

Khalifa University of Science and Technology

We have completed our review of the EHS Department. The review was conducted during May – June 2023 covering the period from January 2022 to June 2023.

The objective of our audit was to review the adequacy and effectiveness of internal controls system and procedures; and to ensure compliance with operating policies and procedures, laws, regulations, and standards.

We have discussed the contents of our report, including our recommendations, with the respective processes’ owners and where relevant we have incorporated their comments and action plans to remediate our findings.

I would like to draw your attention to the issues highlighted in the executive summary, where opportunities for improvement were highlighted.

Yours Sincerely,

Abdulaziz Alkhoori

VP, Audit

Table of Contents

1.	Executive Summary	3

1.1 Introduction	3

1.2 Scope of Work	3

1.3 Audit Objectives	3

1.4 Audit Process	3

1.5  Summary of Audit Findings	3

2.	Background	5

3.	Detailed Audit Findings	6

4.	Appendix	13

- Executive Summary

  - Introduction

We have completed the Review of EHS, in line with the Approved Internal Audit Plan and Audit Engagement Memorandum Dated May 2023. The Internal Audit Findings / Improvement Opportunities to address associated risks / control gaps were identified and reported as part of this report.

  - Scope of Work

The Scope of Work comprised of the following areas:

Governance and Compliance

- Review existence of formally approved goals and objectives for the function.

- Verify existence / adequacy of governance structure including organizational structure, policies and procedures, delegation of authority matrix, Job descriptions, KPIs, etc.

- Review adherence to relevant policies and procedures.

- Review existence of Committee (s), charters and bylaws (If any).

- Review process of HSE accreditation and changes thereof.

- Review the management of records filing, storage, protection, access and retention.

- Review the compliance with UAE health and safety regulations and liaison with other Government entities for the administration of the EHSMS.

EHS Operations

- Review sufficiency of manpower in place to run the day-to-day activities undertaken by the Function.

- Verify existence/ adequacy of emergency response plan and assessing preparedness of the University Staff to react in emergency cases.

- Review the process of testing & reviewing emergency response procedures and maintaining emergency response equipment (including fire drills and firefighting equipment).

- Evaluate the management of HSE function at all campuses and coordination thereof.

- Check the existence of sufficient number of nurses with medical expertise to treat minor injuries or accidents.

- Verify the process of hazard identification and risk assessment.

- Review process in place for contractor's health and safety plans and activities (inspections and checks).

- Review the adequacy of communicating hazardous conditions to university community members including students, employees, and workers.

- Review controls over identification, storage, and disposal of hazardous waste.

- Check the adequacy of reporting, recording, investigating & analyzing incidents & injuries.

- Evaluate existence and adequacy of fire suppression system.

- Check the involvement of HSE personnel in the University events and assessing roles & responsibilities.

- Review the existence/ adequacy of training process to ensure employee, students, contractors and visitors’ awareness and skills necessary to fulfill their HSE obligations.

- Evaluate the ‘needs analyses, the process of identifying and evaluating needs in a community, Training Needs Analysis (TNA).

- Evaluate the process of HSE audits (Internal and External) to verify the conformance & the effectiveness of the HSE Management System.

- Review the field and research trips safety procedures in place.

- Assess the mechanism / reporting protocols in place for management reporting.

- Adequacy of general risk management and controls.

- Review of air monitoring processes as part of the air quality management system.

- Existence of process in place for monitoring noise in classrooms, laboratories, and workshops.

Others

- Review existence and relevance of departmental KPIs.

- Review the process to conduct Root cause analysis and develop action plans for KPIs not meeting targets.

- Verify departmental budget and reasons for over / under spend (if any).

  - Audit Objectives

The Objectives of the review are to independently review the system of internal controls, level of compliance with policies and procedures, and the achievement of the desired objectives.

  - Audit Process

The following are the key Audit Steps undertaken by the IA Department:

Planning

- Overview of the processes being reviewed.

- Key concerns in the activity to be reviewed.

- Key contact points for the review.

- Development of the Audit Program.

Execution

- Review and evaluate the soundness, adequacy, effectiveness and application of the operational, financial and administrative policies, systems and procedures.

- Review and evaluate the integrity, reliability and adequacy of planning and executing the operations.

- Identify gaps in control design and operating effectiveness as well as compliance with established policies, plans, procedures, laws, and regulations.

Reporting

- Prepare draft audit report on the adequacy and effectiveness of the control system and the efficiency with which processes are carried out.

- Submit draft audit report to the process owner recommending corrective actions to improve controls and operations.

- Conduct closing meeting to discuss and validate observations with process owner and help in developing action plans to mitigate risks.

  - Summary of Audit Findings

Controls need to be enhanced for 21% of the observations. A balance of 50% is within the moderate range and 29% is within the low range and needs to be monitored and prevented from entering the high-risk category and moderate range as applicable.

Please refer to Appendix 1 for detailed Ratings

The audit findings found during the review are summarized below. It should be noted that we have reported only on the exceptions detected during our review.

- Incident Management

- There were 200 wounds/first aid cases including burns, chemical burns, inflammation, and wounds in the 2022 clinics report, whereas we noted that there were no records of investigation being conducted by the EHS.

- The number of Incidents and Near Misses are inconsistent in the 3 lists maintained by EHS Department – List of incidents, EHS contractors’ statistics, and the OSHAD reports.

- Hazard Identification and Risk Assessment

We noted that the EHS risk assessment was not conducted covering following hazards as per OSHAD requirements:

o	Nurses availability/sufficiency.

o	New/expectant mothers

o	Young workers.

o	Inexperienced workers.

- Training and Awareness

- There is absence of an EHS training plan for KU employees, contractors, visitors, etc. Currently, the KU EHS team has established only Training Need Analysis (TNA).

- There is absence of training modules for Incident / Near miss reporting and Heat Injuries & Illnesses Symptoms.

- Background

The EHS Department is currently managed by the EHS Manager, who reports to the VP Administration, Facilities and EHS.  EHS is responsible for the wellbeing of students, faculty, staff, contractors, and visitors on the campuses, and for the campus environment. KU’s EHS Management System (EHS-MS) has been developed to meet the requirements of Abu Dhabi Emirate and relevant international standards (ISO). The EHS-MS aims to:

- Secure the health, safety, and welfare of KU community

- Protect the public from the health and safety risks from KU activities

- Eliminate workplace risks at the source

- Implement health, safety, security, and welfare standards

- Improve natural resource conservation and management

- EHS Department Structure

The organization structure for the EHS Department at KU has 10 staff members handling 5 roles as per the approved organization chart:

- Manager, Environment Health, and Safety

- EHS Compliance Senior Specialist

- Buildings Safety Specialist

- Labs Safety Specialist

- Labs Safety Senior Specialist

- EHS Main responsibilities

The main responsibilities of the EHS Department are as follows:

- Incidents Management & Reporting

- Evacuation and Emergency Drills

- Occupational Healthcare Monitoring

- Waste Management

- Hazard Identification and Risk Management

- EHS Trainings and Awareness

- Accreditations Compliance and Certifications

- EHS Audits and Inspections

- Fire Detection and Prevention

- Setting and Monitoring EHS Objectives

- Approval of Permit to Work

| - Detailed Audit Findings |  |
| --- | --- |
|  Medium | - EHS Governance - Policies & Procedures and Organization Structure |
| Risk Ref : KU-EHS-01 & KU-EHS-02 |  |
| Observation/Process Enhancement Timely Review of EHS Policies and Procedures: As per the Document Control Procedure "KU–FD–EHS–MSM–08", Section 5.8.2, revision of the entire EHS Manual, MSM / MPM / DPM Manuals should be: - At least once in four years or as and when found essential to ensure the effectiveness and continual improvement of the implemented Management System. - When there is a Significant Organizational Changes. It is pertinent to note that such updates in the EHS Manual ensure that the practices followed by all the staff and contractors are aligned with the latest EHS procedures and regulatory requirements. - EHS team established EHS policies and procedures for the control of activities and EHS processes. However, based on our review of these policies and procedures, it was noted that all 4 policies and 33 out of 34 procedures (last review conducted in 2018) were not reviewed as per the frequency defined in Documents control Procedure. These policies and procedures relate to occupational health, well-being, emergency management, hazardous material management, first-aid, EHS risk assessment, PPEs to be used, etc. Outdated policies and procedures may result in inconsistent EHS practices being followed by staff & contractors, thereby increasing the risk of EHS incidents. Refer to below table that shows approval dates of the EHS Policies: Sr No; Policy Name; Policy Description; Approval Date. 1; EHS-7400 Environment, Heath Safety; Improving the environmental, health and safety performance of its activities.; 1-Jan-18. 2; EHS 7450 Occupational Health and Safety; Occupational health, safety, and welfare of all of its staff members and those affected by its activities including students, visitors, contractors, and members of the public.; 1-Jan-18. 3; EHS 7500 Health and Well-Being; Health and wellbeing of Faculty, staff, volunteers, and campus contractors across all KU campuses.; 1-Jan-18. 4; EHS 7510 Smoke Free Environment; Smoke free environment; 1-Jan-18. Please Refer to Appendix 2 for approval dates of the EHS Procedures. EHS Organization Structure Change: EHS organization structure changed in 2022 with change in the EHS Manager and introduction of new roles such as “Building Safety Coordinator” and “EHS Specialist”. - Based on our review, it was noted that EHS policies and procedures were not reviewed, updated, and signed off by the new EHS Manager. Such changes require updates in the policies and procedures as per the Document Control Procedure. Also, the roles and responsibilities of EHS Safety Coordinator and EHS Specialists were not identified in the policies and procedures, which may lead to ineffective implementation of EHS processes. Non-conformances w.r.t policies and procedures: - Based on our review of the policies & procedures and site visits, we noted below non-conformances. Please refer to the Site Visit finding (12 & 14) for further details. - Absence of Work at Height defined procedure. - Electrical Safety procedure does not specify access controls of electrical rooms by only authorized personnel. - Non-compliance to Emergency Management Contingency Plan - Inadequate communication of emergency contact numbers at site. - Non-compliance to the Personal Protective Equipment procedure – Contractors were noted working without PPEs. - First Aid Procedure does not cover expiry check of medical items due to which there was a non-compliance at site. Due to such non-conformances, there is a possibility of increased instances of safety incidents and injuries to the staff of KU and contractors. Need to update the Organization Structure: As per OSHAD, Management System Elements V3.1, section 3.6, Management of Change (MOC) process shall consider organizational structure changes. Management of Change supports in smooth transition from old to new processes/structure to align resources and reduce implementation period. Management of Change creates an opportunity for development of best practice in business. Refer to below chart that shows latest approvedEHS Organization Structure: Refer to below table that shows the current list of EHS team designations: Sr No; Designation. 1; Manager, EHS. 2; Labs Safety Senior Specialist. 3; EHS Specialist. 4; Labs Safety Senior Specialist. 5; Labs Safety Specialist. 6; Labs Safety Specialist. 7; Labs Safety Specialist. 8; Building Safety Coordinator. - During our review of the MOC register, KU–FD–EHS–FOR–54, the organization structure, and the List of EHS team members, we noted that there were new EHS roles such as “Building Safety Coordinator” and “EHS Specialist” that were not updated in the organization structure and in the Management of Change (MOC) register. Recommendation - Review and update the EHS policies and procedures in line with Document Control Procedure i.e., post any organization changes and / or every four years (as a minimum). - Establish Work at Height Procedure, enhance the procedures for electrical safety to include access controls and update the first aid procedure to include checking of expiry date of medical items. - Maintain and update the MOC register with any changes in the organization structure, process, etc. Management Action Plan Management Action Plan: Responsibility: Timelines: |
|  Medium | - Management Reporting of EHS activities |
| Risk Ref: KU-EHS-03 |  |
| Observation/Process Enhancement EHS Committee creation: As per OSHAD, Management System Elements V3.1, Section 3.2, the entity with greater than 50 employees shall establish Occupational Safety Health (OSH) Committee. OSH Committee meetings shall be recorded and conducted at a minimum of 4 times a year. An EHS Committee brings together management and employees/contractors to help create and maintain a safe workplace. It allows participation in development, implementation, and monitoring of the organization EHS policies and procedures. Further, this Committee enhances the investigation of EHS concerns and EHS reporting culture. - Based on our review, it was noted that the EHS Committee is not established and functional, which may lead to ineffective monitoring of EHS operations and thereby, ineffective implementation of EHS Management System. Conducting Management Reviews over EHS activities: Management Review Meetings establishes the involvement and commitment of top management in the EHS activities. Management review meetings enables top management to assess EHS input/agenda to ensure safety of staff and identify any areas for improvements. As per ISO 45001:2018, the management review shall include the following: - The extent to which environmental objectives have been achieved - Information on the organization’s environmental performance, including trends - Monitoring and measurement results - Fulfilment of its compliance obligations - Audit results - Based on our review of the Management Review Meeting conducted in Dec 2022, it was noted that the ISO 45001:2018 coverage of the management review on areas such as achievement of environment objectives, organization’s environmental performance, measurement results, compliance obligations and audits results (as shown above) were not met. This may lead to management not being aware of the current EHS performance , issues and compliance obligations. Refer to Appendix 3 – Management review meeting’s agenda in 2022. Reporting of EHS Performance: EHS team generates an Annual Report showing the EHS performance, contractor performance, EHS statistics, and the KPI results. The annual EHS report establishes analysis of the overall EHS performance and EHS objectives. - Based on our review, it was noted that the annual report for the year 2022 was not generated and recorded which may result in inadequate monitoring of EHS activities. Recommendation - Establish the EHS Committee and conduct EHS committee meetings as per the frequency defined in OSHAD (4 times as a minimum). - Update the EHS Management Review Agenda to ensure coverage of requirements of ISO 45001:2018. - Ensure that the EHS Annual Report is generated on timely basis covering the key statistics around man-hours worked, number of workforce, LTIs, near-misses, property incidents, etc. Also, reports should be submitted to the management for monitoring of EHS activities. Management Action Plan Management Action Plan: Responsibility: Timelines: |  |
|  Medium | - EHS Objectives and KPIs Monitoring |
| Risk Ref : KU-EHS-04 |  |
| Observation/Process Enhancement Develop EHS Objectives as per ISO 45001 requirements: The EHS Objectives are set to ensure compatibility of EHS Department with the strategic direction of KU and in order to maintain and continually improve the EHS management system and performance. As per ISO 45001:2018, EHS objectives should take the following into account: - Results of the assessment of risks and opportunities - Results of consultation with workers and workers representatives - It was noted that the EHS objectives of 2022 do not cover the above ISO 45001:2018 requirements, due to which the risks and opportunities may not be assessed leading to execution of unsafe activities without considering the hazards. Ensure achievement of EHS Objectives: As per ISO 45001:2015, Section 6.2.2, when planning how to achieve its OSH objectives, the organization shall determine how the results will be evaluated, including the indicators for monitoring. - Based on our review of the 2022 EHS objectives, it was noted that below 5 out of 13 EHS objectives were not achieved in 2022: S/N; Objectives Details; Evidence Documents; Measuring Method; Target; Findings. 1; Achieve 100% compatibility with national standards; OSHAD certification and other EHS Standards.; 100% Compatibility; Dec 2022; Target Achieved for Main Campus. However, Target Not Achieved for SAN campus.. 2; Increase the recycle of general waste to 30% .; General Waste Records on Monthly basis; Recycle 30 %; Dec-22; 26% achievement. No justification. 3; Target 3% reduction of Energy consumption from the previous year .; 3% reduction target energy consumption/Monthly Report; 3% Energy Saving; Dec-22; Average Reduction in MAIN and SAN Campus is 2.5 %. No justification. 4; Complete full Integrated of Facilities Management CAFM Solution; Activation of EHS modules in CAFM system; 100% Completion; Jul-22; Target Not Achieved. 5; Develop Integrated Quality Management System and achieve ISO 9001 or more (ISO standard , APPA and RICS).; ISO Certification; 100% Completion; Dec-22; Target Not Achieved. Recommendation - Ensure the coverage of objectives such as assessment of risks & opportunities, worker consultation results, etc. while developing KU’s EHS Objectives. - Ensure 100% achievement of EHS objectives and record justifications in case of non-achieved objectives. Management Action Plan Management Action Plan: Responsibility: Timelines: |
|  Low | - Legal Compliance |
| Risk Ref : KU-EHS-06 |  |
| Observation/Process Enhancement As per the Identification and Access to Legal and Other Requirements Procedure " KU–FD–EHS–MSM–02", Section 5.1, Legal and other requirements as applicable to KU operations, regarding the requirements of the EHS Management System, Environmental aspects and Occupational Health and Safety requirements are identified by EHS Department. EHS Department identifies, tracks, and maintains a list of all applicable legal and other requirements as applicable to KU operations. - Based on our review of the EHS Legal and Other Requirements Register (KU-DF-EHS-REG-02) Rev. 04, Dated 18 Oct 2022, it was noted that below requirements applicable to KU’s operations were not identified: - Federal Law No. 33 of 2021 on Employment Relationship. - UAE Ministerial Resolution No. (505) of 2012 on Issuing the Regulation of the Cabinet Resolution No. (24) of 2012 concerning Regulating Civil Defense Services in the State. - Federal Law No. 12 of 2018 on the Integrated Waste Management. - Federal Law No. 12 of 2006 - Article 2, regarding the emission or the leakage of the Gaseous and Solid Pollutants and vapors to the ambient air was not identified in the EHS Legal and other requirements Register This may result in inability to maintain the compliance with applicable EHS legal requirements leading to reputational loss / financial penalties and legal proceedings. Recommendation - Review and Update the Legal register identifying all the EHS applicable legal and other requirements. Management Action Plan Management Action Plan: Responsibility: Timelines: |  |
|  Low | - Accreditation Compliance |
| Risk Ref : KU-EHS-07 |  |
| Observation/Process Enhancement Maintain records for Non-Conformance: A Non-Conformance Report (NCR) addresses deviation to specification or work that fails to meet accreditation standards. The report is used for the quality control process, in which it details the problem, how it occurred, and how to prevent it from happening again. As per OSHAD, Element 8- Audit and Inspection, Section 3.2, when developing the audit documentation / records, each entity should consider developing auditing records as part of their procedure including Non-Conformance Report (NCR). - Based on our review of the external audit report (audit conducted in Nov 2022) for ISO 45001:2018 and ISO 14001:2015, it was noted that there were 12 minor NCRs and 4 opportunities for improvements identified during the audit, whereas there was no evidence of Non-Conformance Reports generated as required by OSHAD. This may lead to non-compliance to the regulatory requirements and inability to identify root cause for NCRs to prevent future occurrence. Include Occupational Health and Safety Needs & expectations in Interested Party Register: As per ISO 45001:2018, Clause 4.2, Understanding the needs and expectations of workers and other interested parties, the organization shall determine: a) the other interested parties, in addition to workers, that are relevant to the OSH management system. b) the relevant needs and expectations (i.e., requirements) of workers and other interested parties. - Based on our review of Interested Party Register, it was noted that Occupational Health and Safety related needs and expectations were not mentioned. Additionally, visitor’s needs, and expectations were not covered. Such needs and expectations are needed to be defined to ensure that there is clear identification and communication of requirements that visitors/other parties need to fulfil to comply with KU’s EHS management system. Include internal and external issues in the Risk and Opportunities Register: As per ISO 45001:2018, Clause 6.1.1, actions to address risks and opportunities when planning for the OH&S management system, the organization shall consider the issues referred to interested parties and determine the risks and opportunities that need to be addressed. - It was noted that the organizational risks derived from Internal and External issues of Interested Parties were not covered as part of the risk and opportunities register (ROAR), which may lead to inadequate identification of EHS opportunities for improvements and business risks. Recommendation - Develop NCR reports for monitoring and closure of non-conformities and opportunities for improvements. - Ensure that OSH related needs & expectations are defined in the interested parties register. - Ensure coverage of visitors needs and expectations in the interested parties register. - Ensure coverage of organizational risks derived from Internal and External issues in the risk & opportunities register. Management Action Plan Management Action Plan: Responsibility: Timelines: |  |
|  High | - Hazard Identification and Risk Assessment |
| Risk Ref : KU-EHS-15 |  |
| Observation/Process Enhancement One of the "root causes" of workplace injuries, illnesses, and incidents is the failure to identify or recognize hazards that are present, or that could have been anticipated. A critical element of any effective EHS program is a proactive, ongoing process to identify and assess such hazards. As per OSHAD-SF- Technical Guideline - Process of Risk Management- V3.0, section 5.2, the organization shall identify who/what can be harmed or damaged and how, considering persons who may have additional difficulties such as new or expected mothers, people with special needs, young, or inexperienced workers. - Based on our review of the Generic Risk Register developed by EHS Department, it was noted that there is absence of hazard risk assessment considering the below cases as required by OSHAD: - Nurses’ availability/sufficiency - New/expectant mothers - Young workers - Inexperienced workers Recommendation - Ensure adequate coverage of nurse’s availability, pregnant women, young and inexperienced workers while conducing hazard risk assessment. Management Action Plan Management Action Plan: Responsibility: Timelines: |  |
|  Medium | - Audit & Inspection |
| Risk Ref : KU-EHS-14 |  |
| Observation/Process Enhancement Ensure effective management of EHS Inspections: As per OSHAD, Audit and Inspection, Section 6, the entity non-conformance, and corrective actions shall address the following, at a minimum: - identifying and correcting non-conformity(s) and taking actions(s) to mitigate their OSH consequences. - means to report potential non-conformances at appropriate levels throughout the organization. - means to record, monitor and manage all reported non-conformances appropriate to the OSHMS. - investigating non-conformity(s), determining their root cause(s) and taking actions to avoid their reoccurrence. - evaluating the need for action(s) to prevent non-conformity(s) and implementing appropriate actions designed to avoid their occurrence. - recording and communicating the results of corrective action(s) and preventative action(s) taken; and - reviewing the effectiveness of corrective action(s) and preventative action(s) taken as part of the close-out procedure. - Based on our review of the sample EHS inspection records, it was noted that there is an absence of inspection monitoring mechanism to track the open/closed corrective actions of all inspection reports which may lead to repetition of similar incidents in future. Further, all the inspection records are not signed and the section "followed by" (person who will conduct follow-up of corrective actions) was also not filled. - Based on our review of the Internal Audit report "FDEHS/REP09-21/OCT/2022", 64 Minor Non-Conformance Report (NCR) and 29 Areas for Improvement (AFI) were identified. However, there was absence of action plan, target date and status in the Internal Audit tracker resulting in inadequate closure and implementation of the identified corrective actions. Refer to below table that shows the findings in the Internal Audit report in 2022. Findings; Number. Positive Points; 30. Major Non-conformity; 0. Minor Non-conformity; 64. Area for Improvement; 29. - Based on our review of 10 selected samples of inspection records, it was noted that 3 out of 10 inspections were not conducted as per the inspection plan. Also, on detailed review of 6 inspection report samples, below observations related to delays in sharing the inspection report, absence of target dates for correction actions and delays in closing the action plans as per the agreed timelines were noted: Sr. No; Timeline (2023); Inspection; Main /SAN; Lab /Building; KPMG Findings. 1; Q1; Chemistry (1); Main; Lab; Inspection not conducted. 2; Q1; Chemical Engineering (1); Main; Lab; Inspection not conducted. 3; Q1; Electrical Engineering & Computer Science (17); Main; Lab; Conducted on 14th March and action target date is 20th April. However, Email with the Inspection report was sent to stakeholder on 12th May (delay of 2 months after inspection date and 23 days after expected completion date of action plan). 4; Q2; Medical Simulation (30); Main; Lab; Absence of target date for 10 corrective actions. 5; Q2; Building K; Main; Building; Helpdesk status shows status of corrective actions is in progress. The target date for closing of corrective action was 11th April, however, actions were not closed as of 13th June (delay of 63 days). 6; Q2; Electrical Engineering & Computer Science Labs (7); SAN; Labs; Inspection not conducted. Recommendation - Establish inspection monitoring mechanism to track the open/closed corrective actions of all inspection reports. - Ensure the inspection reports are signed by the inspector and the concern stakeholders. - Ensure that the EHS Internal Audit tracker covers all internal audit findings related to EHS department. - Ensure conducting of EHS inspections as per the inspection plan and implementation of effective follow ups of corrective action plans. Management Action Plan Management Action Plan: Responsibility: Timelines: |
|  High | - Incident Management |
| Risk Ref : KU-EHS-10 |  |
| Observation/Process Enhancement - Enhance incident management process for clinical incidents: Incident management is a process used to address and respond to unplanned events that can affect service quality or service operations. Incident management aims to identify and correct problems while maintaining normal service and minimizing impact to the business. As per Incident Reporting and Investigation procedure, section 5.2, reporting list of reportable incidents includes work related injuries such as cuts, fractures, and bruises. Based on our review and analysis of the Clinics 2022 reports, it was noted that there were 200 wounds / first aid cases including burns, chemical burns, inflammation, and wounds. Refer to below table that shows the clinic first aid cases reported in 2022. Clinic 2022 Report. Wounds/First Aid Cases (NWR); Number of Cases. Burn/Scald; 38. Chemical Burn; 1. Hematoma/Contusion/Inflammation; 3. Wound (Laceration, Cut, Skin/Nail Avulsion, Abrasion, Punctured, Incised); 158. Total; 200. - Based on our review, it was noted that the incidents recorded by the clinic were not reported to the EHS and there was no evidence of incident investigation conducted by the EHS team on these incidents. This may result in inadequate process of addressing the root cause of incidents and reoccurrence of similar incidents. - Reporting of near-misses and incidents on OSHAD’s Aladaa Portal: Currently, the EHS team reports the EHS performance statistics to OSHAD through al Aladaa portal on quarterly basis. - Based on our review of OSHAD 2022 reports through Aladaa portal, it was noted that there were 7 near misses and 1 property damage reported to OSHAD, which are inconsistent with the number of near misses and incidents recorded as per the Contractor EHS Statistics (4 samples – 38 Near misses and 6 Incidents) and by the EHS team (4 Near misses and 1 Incident). Details are shown in below tables. Refer to below table that shows the EHS Statistics in 2022 reported to OSHAD. OSHAD Reports; Property Damage; Near Miss. Q1; -; 1. Q2; -; 3. Q3; 1; -. Q4; -; 3. Total; 1; 7. - Based on our sample review of the Oct and Dec 2022 contractor EHS statistics performance reports, there were 38 near misses and 6 property damaged incidents. Refer to below table that shows the sample of Contractor EHS Statistics in 2022. Contractor EHS Statistics Performance Report. Contractor; Date; Campus; No. of Near misses; No. of Incidents. West Coast Group; Oct-22; SAN; 5; 0. West Coast Group; Dec-22; Main; 4; 3. West Coast Group; Dec-22; SAN; 5; 3. Imdad; Dec-22; Main; 24; 0. Total; 38; 6. - Moreover, it was noted that there were only 4 near misses and 1 incident reported in the incident tracker of 2022. Refer to below table that shows the list of incidents recorded by EHS team in 2022. Incident; Number. Property Damage; 1. Near Misses; 4. - Furthermore, the Property damage incident report issued on 6.9.2022, is not signed by the HSE manager/representative. Recommendation - Ensure that EHS team monitors and investigates injuries reported by the clinics. - Ensure adequate and consistent recording and reporting of the incidents and near misses in the incident tracker, contractor EHS statistics reports and the OSHAD reports. - Ensure that EHS manager/representative signs and approves the incident investigation report. - Establish process for EHS near miss reporting culture within the organization. Management Action Plan Management Action Plan: Responsibility: Timelines: |
|  Low | - EHS Budgeting |
| Risk Ref : KU-EHS-05 |  |
| Observation/Process Enhancement Based on our review of the 2022 EHS Budget sheet, it was noted that there was absence of justification of budget underutilization of 820,580 Dhs(XX%). Account Description; Revised Budget; Actual Amount; PR; PO; Fund Available. Conferences, seminars and exhibitions and other events: - Local Events; 29,519.00; 29,519.00. Freight and shipping costs, not included elsewhere under purchase costs; 20,000.00; 20,000.00. Subscriptions and membership fees: Trade organizations; 42,000.00; 42,000.00. Health, safety & environment awareness; 616,900.00; 2,116.80; 5,618.85; 52,090.00; 557,074.35. Health, safety & environment awareness; 23,100.00; 23,100.00; -. Laboratory equipment; 171,987.00; 171,987.00. Total; 903,506.00; 2,116.80; 5,618.85; 75,190.00; 820,580.35. Recommendation - Ensure adequate EHS budgeting and avoiding under-utilization of budget. Management Action Plan Management Action Plan: Responsibility: Timelines: |
|  High | - Training and Awareness |
| Risk Ref : KU-EHS-17 |  |
| Observation/Process Enhancement Establishment of EHS Training Plan: Following the completion of the Training Need Analysis (TNA) and indivision reviews, the entity should summarize the needs in a training plan. The training plan should be designed to assist the entity in the management of the training and help to track progress of what has been completed. As per OSHAD-SF- Technical Guideline - Training, Awareness and Competency - V3.0, section 8, the training plan should contain the following: - Training courses required - Frequency of training - Planned dates - Internal/external trainings - Training completion date - Based on our review of the EHS records, documentation and process understanding meetings, it was noted that there is absence of a training plan, which may lead to lack of adequate EHS competency to execute work safely. Currently, the KU EHS team are establishing the Training Need Analysis (TNA) only. Enhancement of Incident/Near Miss Reporting Culture As per OSHAD-SF- Technical Guideline - Training, Awareness and Competency - V3.0, section 4, it is important that the Training Need Analysis (TNA) identifies any general training or awareness that all employees require such as incident reporting. And, as per Incident Reporting and Investigation procedure, section 5.5, all KU Employees are to be trained to recognize, observe and report near misses. The EHS Manager ensures that all employees receive this training through coordination with every Department. - Based on our review of the 21 training modules for 2023, it was noted that there is absence of Incident/near miss reporting training module, which may result in employees not reporting the near misses that can turn into incidents. - Also, there was absence of Heat Injuries and Illnesses Symptoms training in the module. Recommendation - Establish adequate and effective EHS training plan for KU employees, contractors, visitors, etc. - Establish Incident and Near Miss reporting to enhance Near Miss reporting culture. - Ensure coverage of Heat Injuries and Illnesses Symptoms training in the training modules. Management Action Plan Management Action Plan: Responsibility: Timelines: |  |
|  Low | - Occupational Healthcare |
| Risk Ref : KU-EHS-18 |  |
| Observation/Process Enhancement - Enhancement of Occupational Health & Safety Requirements During our site visit at Arzanah Building in SAN Campus, we noted that there was high compressor noise in the ACBC CORE lab. Currently, the EHS team are using a calibrated portable noise monitoring device to measure the noise levels. - Based on our review and site visit, it was noted that there was no evidence of third-party noise monitoring certificate to showcase that the noise levels were checked and found to be within the safe limits. This may result in hearing loss hazards due to causes attributed to workplace and impacting wellbeing of employees and the contractors. - Establish EHS Complaint Monitoring Mechanism As per the leading practice, EHS monitors and analyzes the occupational health related complaints and evaluate the repetitive events to minimize the risks and impacts. Currently, the complaints list is being monitored by the FM department, which sends the complaints/work orders to EHS for closure. - Based on our review, it was noted that there was absence of monitoring mechanism for tracking the list of EHS complaints and action taken. Recommendation - Ensure noise monitoring process is effectively implemented and measured by a third party. - Establish EHS complaints monitoring and analysis. - Ensure EHS team gets access from IT for the monitoring the list of EHS work-orders and complaints. Management Action Plan Management Action Plan: Responsibility: Timelines: |  |
|  Medium | - Permit to Work (PTW) |
| Risk Ref : KU-EHS-16 |  |
| Observation/Process Enhancement Permit to Work (PTW) is a systematic process designed to identify, communicate, mitigate, and control risk in hazardous areas, nonstandard situations, and potentially hazardous conditions, such as shutdowns, to prevent accidents. Permit to Work systems are essential to frontline worker safety. As per the Permit to Work Procedure, KU–FD–EHS–MPM–07, the scope of PTW covers the following: - The period for completion of the work is not exceeding the maximum duration of the Permit to Work as defined by the start and end time. - For the work to extend beyond the stated finish time, the Permit to Work will be re-validated (including re-approval by the person issuing the Permit to Work) or a new Permit to Work issued. - The Permit to Work system only allow for limited extensions or revalidations rather than continuously extending previous Permit to Work. - Based on our review of the PTW register, it was noted that 6 out of 70 Permits in SAN are "Open" since 2022 without re-evaluating the hazards arising due to changes in the work set-up. Refer to below table that shows the sample list of PTWs in 2022. Sr. No; PTW No.; PTW Date; Activity; Findings. 1; 042/ 2022 SAN; Jul. 22, 22; Waterproofing at Roof; Status is "Open" since 22 July 2022. Also, the PTW extension was till March 31 2023. However, the extension was not mentioned in the PTW form, and the permit is still open. 2; 051/ 2022 SAN; Sep. 10, 22; Supply and Installation of the Power Supply for Office Relocation & Electrical work; Status is "Open" since 10 Sep. 2022. PTW extension was till April 30 2023. However, the extension was not mentioned in the PTW form, and the permit is still open. 3; 064/ 2022 SAN; Nov. 14, 22; Installation of gasifier pilot plant.; Status is "Open" since 14 Nov. 2022.. 4; 067/2022 SAN; Dec. 07, 22; Civil foundation for Pump and watering; Status is "Open" since 7 Dec. 2022.. 5; 069/2022 SAN; Dec. 14, 22; Removing scrap; Status is "Open" since 14 Dec. 2022.. 6; 068/2022 SAN; Dec. 08, 22; -; Status is "Open" since 8 Dec. 2022. Also, there was no Permit, and activity description was not mentioned. Recommendation - Ensure effective monitoring of permits to work and closure of permits without delays. Ensure permits extension is recorded in the permit to work form and ensure activity descriptions are recorded in the permit to work register. Management Action Plan Management Action Plan: Responsibility: Timelines: |
|  Medium | - EHS Site Visit |
| Risk Ref : KU-EHS-01 |  |
| Observation/Process Enhancement Based on our site visits in Main and SAN campuses, we noted the following non-compliances: - Main Campus Findings - Electrical room in E building was open and not locked to prevent unauthorized access. - There was ongoing ‘working at height’ activity without a valid and approved PTW, and the employee was not wearing helmet. - Firefighting diesel pump coolant level was found to be low as compared to the required level. The coolant level should be at “High” level in the coolant tank scale. Currently, the level is below “low” - Emergency contact numbers not updated at the temporary storage area. currently, the emergency contact numbers are for the old contractor. - Some labs had exposed naked electrical wires. - In the industrial lab, the oil/lube bulk bottles were placed under the industrial compressed gas sources. - The Contractor team, Adeeb, were not wearing their PPEs (Gloves and helmets) while conducting HVAC PPM work as per permit requirements (PTW No. ADB/PTW/KUMC/032-23) and WO No. 100842. - KU Vivarium project- PPE (Gloves) were not available during hammering nails activity and drilling activity. - KU Vivarium project- contractor employee was working at height without wearing required PPE (Gloves, Helmet, safety belt, etc.). Also, there was no PTW issued for this working at height. Currently, the EHS team does not have a working at height procedure that defines the work at height processes and precautions. - SAN Campus Findings - Firefighting system diesel pump coolant level was low. The coolant level should be at “High” level in the coolant tank scale. Currently, the level is below “low” - In the campus clinic, Medicine "Diclogesic" was found expired in April 2023. - Building 3 - Ruwais, had expired sanitizer in the first aid box - Petroleum refinery lab (3013 A) had expired medicine "response beta" in the first aid box - The First Aider displayed, was on leave and there is no alternate first aider number displayed - Chemical Lab (3021) had expired medicine (Broad Spectrum Biocide) in the first aid box - Unlabeled chemical containers are in the Chemical lab (3021) - Arzanah building, the electrical room was open and not locked for unauthorized personnel Recommendation - Ensure adequate and effective compliance to the procedures and work controls. Ensure safe working conditions at site including fire pump rooms, clinics, buildings under construction, electrical rooms, and laboratories. Management Action Plan Management Action Plan: Responsibility: Timelines: |  |

Appendix

Appendix 1

Findings Rating

The audit findings have been grouped together in a logical manner to appropriately convey the risk and impact. The audit findings have been categorized based on their criticality rating as High, Medium and Low. The definitions of the findings criticality / distribution are provided in the table below

|  | Finding Rating | Definition | Number of Findings | Total |
| --- | --- | --- | --- | --- |
|  | High | Finding is serious and deserves immediate attention by the Process Manager. The finding is reported to the Audit Committee quarterly. | 0 | 10 |
|  | Medium | Finding impacts the accomplishment of the Process objectives. Corrective action is required by management. If not resolved, the finding could result in inefficient use of entity resources and or potentially disrupt business processes. | 3 |  |
|  | Low | Finding to be reported to Management but is of a minor risk to the entity. Findings will not be reported to the Audit Committee unless the finding remains open after the follow up audit. | 7 |  |

Appendix 2 – EHS Procedures Approval Dates

| Sr No | Procedure Name | Last Review Date |
| --- | --- | --- |
| 1 | Communication Participation and Consultation | 2018 |
| 3 | Control of Records | 2018 |
| 4 | Document Control Procedure | 2018 |
| 5 | EHS Audit Internal & External | 2018 |
| 6 | EHS Design and Modification | 2018 |
| 7 | EHS Implementation Plan | 2018 |
| 8 | EHS Objectives and KPI's | 2018 |
| 9 | EHS Operational Control Procedure | 2018 |
| 10 | Emergency Evacuation Plan | 2018 |
| 11 | Emergency Management-Contingency Plan | 2018 |
| 12 | Emergency Preparedness Procedure | 2018 |
| 13 | Environmental MS Interested Parties | 2018 |
| 14 | Evaluation of Compliance | 2018 |
| 15 | First Aid | 2018 |
| 16 | Hazardous Material Management | 2018 |
| 17 | Identification of Legal and Other Requirements | 2018 |
| 18 | Incident Reporting and Investigation | 2018 |
| 19 | Management of Change | 2018 |
| 20 | Management Review | 2018 |
| 21 | Managing the Risk of Plant | 2018 |
| 22 | Manual Handling | 2018 |
| 23 | Non-Conformities Corrective Preventive & Improvement Action | 2018 |
| 24 | Occupational Health & Safety | 2018 |
| 25 | Performance Monitoring, Measurement and Reporting | 2018 |
| 26 | Permit to Work | 2018 |
| 27 | Personal Protective Equipment | 2018 |
| 28 | Risk Assessment Procedure | 2018 |
| 29 | Roles and Responsibilities Procedure | 2018 |
| 30 | Training Competence and Awareness | 2018 |
| 31 | Waste Management | 2018 |
| 32 | Working Alone and After-Hours work in Laboratories | 2018 |
| 33 | Workplace Inspection Procedure | 2018 |
| 34 | EHS Electrical Safety Management Procedure | 2018 |

Appendix 3 – EHS Management Review Agenda 2022

| Department Name | S/N | Objectives Details | Measuring Method | Target | Objective Evaluate |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Dec-22 |
| EHS | 1 | Attain one or more new national \ International award and or certification (different than ISO9001) | 1 Awards or Certificate | 22-Dec | 4 |
|  | 2 | 90% accomplishment EHS training of all KU community | 90% Completion | 22-Dec | 3 |
|  | 3 | Assure that 100% (minimum completion of 80% on monthly plan) of all KU Assets, Equipment & Instrumentations are calibrated, or PAT testing conducted in line with EHS compliances | 100% Completion | 22-Dec | 3 |
|  | 4 | Achieve 100% compatibility with national standards | 100% Compatibility | Dec 2022 | 3 |
|  | 5 | Increase the recycle of general waste to 30% | Recycle 30% | 22-Dec | 3 |
|  | 6 | Establish Energy Management Plan & Sustainable Practices for every facility in KU | 100% Completion | 22-May | 3 |
|  | 7 | Target 3% reduction of Energy consumption from the previous year | 5% Energy Saving | 22-Dec | 3 |
|  | 8 | Develop on-job training plan targeting 30% of the department job responsibilities/resources by Feb 2022. Establish implementation to achieve 90% of the set plan | 90% as per Set Plan | 22-Dec | 3 |
|  | 9 | Complete full Integrated of Facilities Management CAFM Solution | 100% Completion | 22-Jul | - |
|  | 10 | Develop Integrated Quality Management System and achieve ISO 9001 or more (ISO standard , APPA and RICS) | 100% Completion | 22-Dec | 3 |
|  | 11 | Propose 3-5 enhanced in department policy, process & procedures to achieve time reduction, cost saving, customer satisfaction, service quality improvement. | 3-5 proposals | 22-Dec | 3 |
|  | 12 | Develop enhanced functional unit level responsible matrix and apply departmental DoA | 100% Completion | 22-Sep | 3 |  |
|  | 13 | Implement periodical One-to-One staff meeting with the line manager and submit the improvement action plan | As per Yearly Plan | Monthly | 3 |  |
|  |  |  |  |  | 62% |  |