## Slide 1
Corresponding author (CA)
CA sends paper and IP informations to co-director at least 6 weeks before planned submission date.
Co-Director (CD)
Co-director (CD) reviews the paper and if acceptable forwards to AHC PM
Publication Permissions
AHC Project Manager (PM)
PM reviews the paper and responds to CD
CD provides feedback to CA
PM provides feedback to CD and CD feeds back to CA
No
No
Yes
Yes
CD informs CA that paper has been cleared and maintains a final copy for records
Co-Director (CD)
Corresponding author (CA)
CA submits paper and updates CD on decision from publisher
CA informs CD on decision from publisher

## Slide 2
ARIC Lab Engineer (LE)
LE establishes a maintenance plan for ARIC and updates it also based on users' feedback
ARIC Lab Engineer (LE)
When appropriate, LE identifies if maintenance can be done in house or requires input from external body.
Maintenance Plan
Co-Director (CD)
CD reviews maintenance needs and approves if external maintenance is required
Yes
External
LE places PR for maintenance with external supplier
ARIC Lab Engineer (LE)
ARIC Lab Engineer (LE)
LE undertakes maintenance
In-house

## Slide 3
Researcher
Researcher reserves the equipment using online service (large equipment) or booking form (small equipment)
ARIC Lab Engineer (LE)
LE monitors equipment usage on a six monthly basis and completes Excel monitoring sheet.
Monitoring of Equipment Usage
Co-Director (CD)
LE sends the six monthly Excel monitoring sheet to the CD for review
CD informs SMB if equipment is not being used or is under utilized or if the requests for one equipment are exceeding the availability, and that CDs give visibility on allocation to external projects / researchers.
Co-Director (CD)

## Slide 4
ARIC Co-Director (CD)
CD will contact ARIC researchers at the end of each month to request they back-up data to the ARIC shared drive.
ARIC Researcher (AR)
AR backs up research data to ARIC shared drive.
Data Back-up
Co-Director (CD)
ARIC CD will check shared drive every three months to ensure that data is being backed up.
CD to remind AR to back-up research data on a monthly basis
No

## Slide 5
Project Lead (PL)
PL identifies technology for possible patent application.
Co-Director (CD)
Patent Applications
AHC Project Manager (PM)
CD request key written information to PL and prepares a short summary with core details
PM reviews the disclosure and responds to CD
PM provides feedback to CD and CD feeds back to PL
No
Yes
Project Lead (PL)
PL links with KU Technology Management Office to jointly prepare the patent application
KU Technology management
KU Technology Management Office submit the patent application for internal and external evaluation